## JV757V3
iDRAC 조회 결과
Service Tag | JV757V3
iDRAC IP | 192.168.0.120
조회 옵션 | HW + FW + BIOS (모든 항목)
조회 시간 | 2026-06-17 01:26:02
Hardware Status && Health Check
System info
모델명 | R740, Carrier Grade
제조사 | Dell Inc.
서비스 태그 | JV757V3
전원 상태 | On
시스템 상태 | OK
Processors
CPU 모델명 | Intel(R) Xeon(R) Gold 6240 CPU @ 2.60GHz
CPU 수량 | 2
CPU 상태 | OK
CPU 상세 정보:
• Socket CPU.Socket.2: 2600 MHz, 18 cores
• Socket CPU.Socket.1: 2600 MHz, 18 cores
System Memory
Memory 총 용량 | 384 GiB
Memory 수량 | 12
Memory 상태 | OK
Memory 용량 :
• DIMM B3: 32.0 GB @ 2933 MHz
• DIMM B1: 32.0 GB @ 2933 MHz
• DIMM A4: 32.0 GB @ 2933 MHz
• DIMM A6: 32.0 GB @ 2933 MHz
• DIMM A1: 32.0 GB @ 2933 MHz
• DIMM A3: 32.0 GB @ 2933 MHz
• DIMM A2: 32.0 GB @ 2933 MHz
• DIMM B5: 32.0 GB @ 2933 MHz
• DIMM A5: 32.0 GB @ 2933 MHz
• DIMM B6: 32.0 GB @ 2933 MHz
• DIMM B4: 32.0 GB @ 2933 MHz
• DIMM B2: 32.0 GB @ 2933 MHz
FAN
FAN 수량 | 6
FAN 상태 | OK
Storage Controller
• PERC H330 Adapter (상태: OK)
RAID Configuration
• RAID Level: RAID1, 용량: 893.75 GB, 상태: OK
• RAID Level: RAID10, 용량: 4470.0 GB, 상태: OK
Physical Disks
• Model: Solid State Disk 0:1:0, State: N/A, Bus Protocol: SATA, Size: 893.75 GB, Status: OK
• Model: Solid State Disk 0:1:1, State: N/A, Bus Protocol: SATA, Size: 893.75 GB, Status: OK
• Model: Physical Disk 0:1:2, State: N/A, Bus Protocol: SAS, Size: 2235.0 GB, Status: OK
• Model: Physical Disk 0:1:3, State: N/A, Bus Protocol: SAS, Size: 2235.0 GB, Status: OK
• Model: Physical Disk 0:1:4, State: N/A, Bus Protocol: SAS, Size: 2235.0 GB, Status: OK
• Model: Physical Disk 0:1:5, State: N/A, Bus Protocol: SAS, Size: 2235.0 GB, Status: OK
Power Supply
PSU 수량 | 2
PSU 상태 | OK
PSU 총 전력 용량 | 2200 W
PSU 이중화 상태 | OK
Network Adapters
• Model: Intel(R) 2P X550/2P I350-t NDC, Adapter: NIC.Integrated.1, Port: NIC.Integrated.1-1, LinkStatus: Down
• Model: Intel(R) 2P X550/2P I350-t NDC, Adapter: NIC.Integrated.1, Port: NIC.Integrated.1-2, LinkStatus: Down
• Model: Intel(R) 2P X550/2P I350-t NDC, Adapter: NIC.Integrated.1, Port: NIC.Integrated.1-4, LinkStatus: Down
• Model: Intel(R) 2P X550/2P I350-t NDC, Adapter: NIC.Integrated.1, Port: NIC.Integrated.1-3, LinkStatus: Down
• Model: Intel(R) 25GbE 2P XXV710 Adptr, Adapter: NIC.Slot.1, Port: NIC.Slot.1-1, LinkStatus: Down
• Model: Intel(R) 25GbE 2P XXV710 Adptr, Adapter: NIC.Slot.1, Port: NIC.Slot.1-2, LinkStatus: Down
• Model: Intel(R) 10G 2P X540-t Adapter, Adapter: NIC.Slot.3, Port: NIC.Slot.3-1, LinkStatus: Down
• Model: Intel(R) 10G 2P X540-t Adapter, Adapter: NIC.Slot.3, Port: NIC.Slot.3-2, LinkStatus: Down
• Model: Intel(R) 25GbE 2P XXV710 Adptr, Adapter: NIC.Slot.4, Port: NIC.Slot.4-1, LinkStatus: Down
• Model: Intel(R) 25GbE 2P XXV710 Adptr, Adapter: NIC.Slot.4, Port: NIC.Slot.4-2, LinkStatus: Down
• Model: Intel(R) 25GbE 2P XXV710 Adptr, Adapter: NIC.Slot.7, Port: NIC.Slot.7-1, LinkStatus: Down
• Model: Intel(R) 25GbE 2P XXV710 Adptr, Adapter: NIC.Slot.7, Port: NIC.Slot.7-2, LinkStatus: Down
Firmware Information
Service Tag
Service Tag | JV757V3
Firmware - 전체 컴포넌트 (31개)
• Intel(R) Ethernet Network Adapter XXV710 - 50:7C:6F:25:E6:11 — 22.5.7
• Intel(R) Ethernet Network Adapter XXV710 - 50:7C:6F:26:66:A1 — 22.5.7
• Intel(R) Ethernet Network Adapter XXV710 - 50:7C:6F:26:77:21 — 22.5.7
• PERC H330 Adapter — 25.5.9.0001
• OS COLLECTOR, v6.0, A00 — 6.0
• Backplane 1 — 2.52
• Dell EMC iDRAC Service Module Embedded Package v4.3.0.0, A00 — 4.3.0.0
• Intel(R) Ethernet 10G 4P X550/I350 rNDC - 78:AC:44:A9:38:F8 — 22.5.7
• Intel(R) Ethernet 10G 4P X550/I350 rNDC - 78:AC:44:A9:38:F9 — 22.5.7
• Intel(R) Gigabit 4P X550/I350 rNDC - 78:AC:44:A9:38:FA — 22.5.7
• Intel(R) Gigabit 4P X550/I350 rNDC - 78:AC:44:A9:38:FB — 22.5.7
• Power Supply.Slot.1 — 00.25.32
• Power Supply.Slot.2 — 00.25.32
• Identity Module(HRMTR) — 3.00
• Intel(R) Ethernet 25G 2P XXV710 Adapter - 50:7C:6F:25:E6:10 — 22.5.7
• Intel(R) Ethernet 25G 2P XXV710 Adapter - 50:7C:6F:26:66:A0 — 22.5.7
• Intel(R) Ethernet 25G 2P XXV710 Adapter - 50:7C:6F:26:77:20 — 22.5.7
• Disk 0 in Backplane 1 of RAID Controller in Slot 6 — DL69
• Disk 1 in Backplane 1 of RAID Controller in Slot 6 — DL69
• Disk 2 in Backplane 1 of RAID Controller in Slot 6 — SBSA
• Disk 3 in Backplane 1 of RAID Controller in Slot 6 — SBSA
• Disk 4 in Backplane 1 of RAID Controller in Slot 6 — SBSA
• Disk 5 in Backplane 1 of RAID Controller in Slot 6 — SBSA
• BIOS — 2.27.0
• Dell OS Driver Pack, 22.10.01, A00 — 22.10.01
• Integrated Remote Access Controller — 7.00.00.184
• Dell 64 Bit uEFI Diagnostics, version 4301, 4301A76, 4301.77 — 4301A76
• Intel(R) Ethernet 10G 2P X540-t Adapter - B4:96:91:0F:CA:F4 — 18.0.0
• Intel(R) Ethernet 10G 2P X540-t Adapter - B4:96:91:0F:CA:F6 — 18.0.0
• System CPLD — 1.1.4
• Lifecycle Controller — 7.00.00.184
NIC Firmware
• NIC.Integrated.1 / Intel(R) 2P X550/2P I350-t NDC — 22.5.7
• NIC.Slot.1 / Intel(R) 25GbE 2P XXV710 Adptr — 22.5.7
• NIC.Slot.3 / Intel(R) 10G 2P X540-t Adapter — 18.0.0
• NIC.Slot.4 / Intel(R) 25GbE 2P XXV710 Adptr — 22.5.7
• NIC.Slot.7 / Intel(R) 25GbE 2P XXV710 Adptr — 22.5.7
BIOS Configuration
System Profile / Power
AcPwrRcvry | Last
AcPwrRcvryDelay | Immediate
AcPwrRcvryUserDelay | 60
EnergyPerformanceBias | MaxPower
PowerCycleRequest | None
ProcPwrPerf | MaxPerf
SysProfile | Custom
Processor (AMD)
ControlledTurbo | Disabled
ControlledTurboMinusBin | 0
CpuInterconnectBusLinkPower | Disabled
CpuInterconnectBusSpeed | MaxDataRate
Processor (Intel)
AdddcSetting | Disabled
AvxIccpPregrant | IccpHeavy128
DcuIpPrefetcher | Enabled
DcuStreamerPrefetcher | Enabled
DirectoryAtoS | Disabled
LlcPrefetch | Disabled
LogicalProc | Enabled
Proc1Brand | Intel(R) Xeon(R) Gold 6240 CPU @ 2.60GHz
Proc1Id | 6-55-7
Proc1L2Cache | 18x1 MB
Proc1L3Cache | 25344 KB
Proc1MaxMemoryCapacity | 1 TB
Proc1Microcode | 0x5003901
Proc1NumCores | 18
Proc1TurboCoreNum | All
Proc2Brand | Intel(R) Xeon(R) Gold 6240 CPU @ 2.60GHz
Proc2Id | 6-55-7
Proc2L2Cache | 18x1 MB
Proc2L3Cache | 25344 KB
Proc2MaxMemoryCapacity | 1 TB
Proc2Microcode | 0x5003901
Proc2NumCores | 18
Proc2TurboCoreNum | All
ProcAdjCacheLine | Enabled
ProcBusSpeed | 10.40 GT/s
ProcC1E | Disabled
ProcCStates | Disabled
ProcConfigTdp | Nominal
ProcCoreSpeed | 2.60 GHz
ProcCores | All
ProcHwPrefetcher | Enabled
ProcTurboMode | Disabled
ProcVirtualization | Enabled
ProcX2Apic | Enabled
Memory
DramRefreshDelay | Performance
MemFrequency | MaxPerf
MemOpMode | OptimizerMode
MemPatrolScrub | Disabled
MemRefreshRate | 1x
MemTest | Disabled
MemoryMappedIOH | 56TB
NodeInterleave | Disabled
OppSrefEn | Disabled
Boot / UEFI
BootMode | Uefi
BootSeqRetry | Enabled
GenericUsbBoot | Disabled
HddFailover | Disabled
HddPlaceholder | Disabled
OneTimeBootMode | Disabled
OneTimeUefiBootSeqDev | Unknown.Unknown.1-1
SetBootOrderDis
SetBootOrderEn | NIC.PxeDevice.1-1
SetBootOrderFqdd1
SetBootOrderFqdd10
SetBootOrderFqdd11
SetBootOrderFqdd12
SetBootOrderFqdd13
SetBootOrderFqdd14
SetBootOrderFqdd15
SetBootOrderFqdd16
SetBootOrderFqdd2
SetBootOrderFqdd3
SetBootOrderFqdd4
SetBootOrderFqdd5
SetBootOrderFqdd6
SetBootOrderFqdd7
SetBootOrderFqdd8
SetBootOrderFqdd9
SetLegacyHddOrderFqdd1
SetLegacyHddOrderFqdd10
SetLegacyHddOrderFqdd11
SetLegacyHddOrderFqdd12
SetLegacyHddOrderFqdd13
SetLegacyHddOrderFqdd14
SetLegacyHddOrderFqdd15
SetLegacyHddOrderFqdd16
SetLegacyHddOrderFqdd2
SetLegacyHddOrderFqdd3
SetLegacyHddOrderFqdd4
SetLegacyHddOrderFqdd5
SetLegacyHddOrderFqdd6
SetLegacyHddOrderFqdd7
SetLegacyHddOrderFqdd8
SetLegacyHddOrderFqdd9
SetupPassword | None
UefiComplianceVersion | 2.7
UefiVariableAccess | Standard
Network / PXE / HTTP / iSCSI
HttpDev1DhcpEnDis | Enabled
HttpDev1Dns1
HttpDev1Dns2
HttpDev1DnsDhcpEnDis | Enabled
HttpDev1EnDis | Disabled
HttpDev1Gateway
HttpDev1Interface | NIC.Integrated.1-1-1
HttpDev1Ip
HttpDev1Mask
HttpDev1Protocol | IPv4
HttpDev1TlsMode | None
HttpDev1Uri
HttpDev1VlanEnDis | Disabled
HttpDev1VlanId | 1
HttpDev1VlanPriority | 0
HttpDev2DhcpEnDis | Enabled
HttpDev2Dns1
HttpDev2Dns2
HttpDev2DnsDhcpEnDis | Enabled
HttpDev2EnDis | Disabled
HttpDev2Gateway
HttpDev2Interface | NIC.Integrated.1-1-1
HttpDev2Ip
HttpDev2Mask
HttpDev2Protocol | IPv4
HttpDev2TlsMode | None
HttpDev2Uri
HttpDev2VlanEnDis | Disabled
HttpDev2VlanId | 1
HttpDev2VlanPriority | 0
HttpDev3DhcpEnDis | Enabled
HttpDev3Dns1
HttpDev3Dns2
HttpDev3DnsDhcpEnDis | Enabled
HttpDev3EnDis | Disabled
HttpDev3Gateway
HttpDev3Interface | NIC.Integrated.1-1-1
HttpDev3Ip
HttpDev3Mask
HttpDev3Protocol | IPv4
HttpDev3TlsMode | None
HttpDev3Uri
HttpDev3VlanEnDis | Disabled
HttpDev3VlanId | 1
HttpDev3VlanPriority | 0
HttpDev4DhcpEnDis | Enabled
HttpDev4Dns1
HttpDev4Dns2
HttpDev4DnsDhcpEnDis | Enabled
HttpDev4EnDis | Disabled
HttpDev4Gateway
HttpDev4Interface | NIC.Integrated.1-1-1
HttpDev4Ip
HttpDev4Mask
HttpDev4Protocol | IPv4
HttpDev4TlsMode | None
HttpDev4Uri
HttpDev4VlanEnDis | Disabled
HttpDev4VlanId | 1
HttpDev4VlanPriority | 0
IscsiDev1Con1Auth | None
IscsiDev1Con1ChapName
IscsiDev1Con1ChapSecret | None
IscsiDev1Con1ChapType | OneWay
IscsiDev1Con1DhcpEnDis | Disabled
IscsiDev1Con1EnDis | Disabled
IscsiDev1Con1Gateway
IscsiDev1Con1Interface | NIC.Integrated.1-1-1
IscsiDev1Con1Ip
IscsiDev1Con1IsId
IscsiDev1Con1Lun | 0
IscsiDev1Con1Mask
IscsiDev1Con1Port | 3260
IscsiDev1Con1Protocol | IPv4
IscsiDev1Con1Retry | 3
IscsiDev1Con1RevChapName
IscsiDev1Con1RevChapSecret | None
IscsiDev1Con1TargetIp
IscsiDev1Con1TargetName
IscsiDev1Con1TgtDhcpEnDis | Disabled
IscsiDev1Con1Timeout | 10000
IscsiDev1Con1VlanEnDis | Disabled
IscsiDev1Con1VlanId | 1
IscsiDev1Con1VlanPriority | 0
IscsiDev1Con2Auth | None
IscsiDev1Con2ChapName
IscsiDev1Con2ChapSecret | None
IscsiDev1Con2ChapType | OneWay
IscsiDev1Con2DhcpEnDis | Disabled
IscsiDev1Con2EnDis | Disabled
IscsiDev1Con2Gateway
IscsiDev1Con2Interface | NIC.Integrated.1-1-1
IscsiDev1Con2Ip
IscsiDev1Con2IsId
IscsiDev1Con2Lun | 0
IscsiDev1Con2Mask
IscsiDev1Con2Port | 3260
IscsiDev1Con2Protocol | IPv4
IscsiDev1Con2Retry | 3
IscsiDev1Con2RevChapName
IscsiDev1Con2RevChapSecret | None
IscsiDev1Con2TargetIp
IscsiDev1Con2TargetName
IscsiDev1Con2TgtDhcpEnDis | Disabled
IscsiDev1Con2Timeout | 10000
IscsiDev1Con2VlanEnDis | Disabled
IscsiDev1Con2VlanId | 1
IscsiDev1Con2VlanPriority | 0
IscsiDev1ConOrder | Con1Con2
IscsiDev1EnDis | Disabled
IscsiF1F2ErrorPrompt | Enabled
IscsiInitiatorName
PxeDev1EnDis | Enabled
PxeDev1Interface | NIC.Integrated.1-3-1
PxeDev1Protocol | IPv4
PxeDev1VlanEnDis | Disabled
PxeDev1VlanId | 1
PxeDev1VlanPriority | 0
PxeDev2EnDis | Disabled
PxeDev2Interface | NIC.Integrated.1-3-1
PxeDev2Protocol | IPv4
PxeDev2VlanEnDis | Disabled
PxeDev2VlanId | 1
PxeDev2VlanPriority | 0
PxeDev3EnDis | Disabled
PxeDev3Interface | NIC.Integrated.1-1-1
PxeDev3Protocol | IPv4
PxeDev3VlanEnDis | Disabled
PxeDev3VlanId | 1
PxeDev3VlanPriority | 0
PxeDev4EnDis | Disabled
PxeDev4Interface | NIC.Integrated.1-1-1
PxeDev4Protocol | IPv4
PxeDev4VlanEnDis | Disabled
PxeDev4VlanId | 1
PxeDev4VlanPriority | 0
PCIe / Slot / SR-IOV
IntegratedNetwork1 | Enabled
PcieAspmL1 | Disabled
Slot1 | Enabled
Slot1Bif | x8
Slot2 | Enabled
Slot2Bif | x8
Slot3 | Enabled
Slot3Bif | x8
Slot4 | Enabled
Slot4Bif | x16
Slot5 | Enabled
Slot5Bif | x8
Slot6 | Enabled
Slot6Bif | x8
Slot7 | Enabled
Slot7Bif | x8
Slot8 | Enabled
Slot8Bif | x16
SriovGlobalEnable | Enabled
Storage / SATA / NVMe
EmbSata | AhciMode
EmbVideo | Enabled
NvmeMode | NonRaid
SataPortA | Auto
SataPortACapacity | N/A
SataPortADriveType | Unknown Device
SataPortAModel | Unknown
SataPortB | Auto
SataPortBCapacity | N/A
SataPortBDriveType | Unknown Device
SataPortBModel | Unknown
SataPortC | Auto
SataPortCCapacity | N/A
SataPortCDriveType | Unknown Device
SataPortCModel | Unknown
SataPortD | Auto
SataPortDCapacity | N/A
SataPortDDriveType | Unknown Device
SataPortDModel | Unknown
SataPortE | Auto
SataPortECapacity | N/A
SataPortEDriveType | Unknown Device
SataPortEModel | Unknown
SataPortF | Auto
SataPortFCapacity | N/A
SataPortFDriveType | Unknown Device
SataPortFModel | Unknown
SataPortG | Auto
SataPortGCapacity | N/A
SataPortGDriveType | Unknown Device
SataPortGModel | Unknown
SataPortH | Auto
SataPortHCapacity | N/A
SataPortHDriveType | Unknown Device
SataPortHModel | Unknown
SataPortI | Auto
SataPortICapacity | N/A
SataPortIDriveType | Unknown Device
SataPortIModel | Unknown
SataPortJ | Auto
SataPortJCapacity | N/A
SataPortJDriveType | Unknown Device
SataPortJModel | Unknown
SataPortK | Auto
SataPortKCapacity | N/A
SataPortKDriveType | Unknown Device
SataPortKModel | Unknown
SataPortL | Auto
SataPortLCapacity | N/A
SataPortLDriveType | Unknown Device
SataPortLModel | Unknown
SataPortM | Auto
SataPortMCapacity | N/A
SataPortMDriveType | Unknown Device
SataPortMModel | Unknown
SataPortN | Auto
SataPortNCapacity | N/A
SataPortNDriveType | Unknown Device
SataPortNModel | Unknown
USB / Front Panel
InternalUsb | On
OsWatchdogTimer | Disabled
UsbManagedPort | On
UsbPorts | AllOn
Security / TPM
AesNi | Enabled
AuthorizeDeviceFirmware | Disabled
SecureBoot | Disabled
SecureBootMode | DeployedMode
SecureBootPolicy | Standard
SecurityFreezeLock | Enabled
TpmInfo | No TPM present
TpmPpiBypassClear | Disabled
TpmPpiBypassProvision | Disabled
Redundant OS / Watchdog
CECriticalSEL | Disabled
ErrPrompt | Disabled
RedundantOsBoot | Disabled
RedundantOsLocation | None
RedundantOsState | Visible
Date / Time / Console
ConTermType | Vt100Vt220
System Information
AssetTag
CurrentEmbVideoState | Enabled
DellAutoDiscovery | PlatformDefault
DellWyseP25BIOSAccess | Enabled
Misc / 기타
CorrEccSmi | Enabled
DeadLineLlcAlloc | Enabled
DynamicCoreAllocation | Disabled
ExtSerialConnector | Serial1
FRMPercent | FRM_25_Percent
FailSafeBaud | 115200
ForceInt10 | Disabled
InBandManageabilityInterface | Enabled
IntelTxt | Off
IoatEngine | Disabled
MmioAbove4Gb | Enabled
MonitorMwait | Enabled
NativeTrfcTiming | Enabled
NumLock | On
PCIRootDeviceUnhide | Disabled
PPROnUCE | Enabled
PasswordStatus | Unlocked
PwrButton | Enabled
RedirAfterBoot | Enabled
SHA256SetupPassword
SHA256SetupPasswordSalt
SHA256SystemPassword
SHA256SystemPasswordSalt
SerialComm | OnConRedirAuto
SerialPortAddress | Serial1Com2Serial2Com1
SnoopHldOff | Roll2KCycles
SubNumaCluster | Disabled
SysMemSize | 384 GB
SysMemSpeed | 2933 Mhz
SysMemType | ECC DDR4
SysMemVolt | 1.20 V
SysMfrContactInfo | www.dell.com
SysPassword | None
SystemBiosVersion | 2.27.0
SystemCpldVersion | 1.1.4
SystemManufacturer | Dell Inc.
SystemMeVersion | 4.1.5.201
SystemModelName | R740, Carrier Grade
SystemServiceTag | JV757V3
UncoreFrequency | MaxUFS
UpiPrefetch | Enabled
VideoMem | 16 MB
WorkloadProfile | NotAvailable
WriteCache | Disabled
WriteDataCrc | Disabled
iDRAC Manager Attributes (571개)
AcquisitionInfo.1.CostCenter
AcquisitionInfo.1.Expensed | No
AcquisitionInfo.1.InstallDate
AcquisitionInfo.1.PONumber | 0
AcquisitionInfo.1.PurchaseCost | 0
AcquisitionInfo.1.PurchaseDate
AcquisitionInfo.1.Vendor | Dell
AcquisitionInfo.1.WayBill | 0
AcquisitionInfo.1.WhoSigned
Backplane.1.BackplaneBusMode | I2C
Backplane.1.BackplaneSplitMode | 0
ChassisInfo.1.CMStatus | CM OFFLINE
CustomAsset.1.Label
CustomAsset.1.Value
CustomAsset.10.Label
CustomAsset.10.Value
CustomAsset.11.Label
CustomAsset.11.Value
CustomAsset.12.Label
CustomAsset.12.Value
CustomAsset.13.Label
CustomAsset.13.Value
CustomAsset.14.Label
CustomAsset.14.Value
CustomAsset.15.Label
CustomAsset.15.Value
CustomAsset.16.Label
CustomAsset.16.Value
CustomAsset.17.Label
CustomAsset.17.Value
CustomAsset.18.Label
CustomAsset.18.Value
CustomAsset.19.Label
CustomAsset.19.Value
CustomAsset.2.Label
CustomAsset.2.Value
CustomAsset.20.Label
CustomAsset.20.Value
CustomAsset.21.Label
CustomAsset.21.Value
CustomAsset.22.Label
CustomAsset.22.Value
CustomAsset.23.Label
CustomAsset.23.Value
CustomAsset.24.Label
CustomAsset.24.Value
CustomAsset.25.Label
CustomAsset.25.Value
CustomAsset.26.Label
CustomAsset.26.Value
CustomAsset.27.Label
CustomAsset.27.Value
CustomAsset.28.Label
CustomAsset.28.Value
CustomAsset.29.Label
CustomAsset.29.Value
CustomAsset.3.Label
CustomAsset.3.Value
CustomAsset.30.Label
CustomAsset.30.Value
CustomAsset.31.Label
CustomAsset.31.Value
CustomAsset.32.Label
CustomAsset.32.Value
CustomAsset.4.Label
CustomAsset.4.Value
CustomAsset.5.Label
CustomAsset.5.Value
CustomAsset.6.Label
CustomAsset.6.Value
CustomAsset.7.Label
CustomAsset.7.Value
CustomAsset.8.Label
CustomAsset.8.Value
CustomAsset.9.Label
CustomAsset.9.Value
DepreciationInfo.1.Duration | 0
DepreciationInfo.1.DurationUnit | Months
DepreciationInfo.1.Method
DepreciationInfo.1.Percentage | 0
Diagnostics.1.OSAppCollectionTime | N/A
ExtWarrantyInfo.1.Cost | 0
ExtWarrantyInfo.1.EndDate
ExtWarrantyInfo.1.Provider
ExtWarrantyInfo.1.StartDate
GPUPowerConfiguration.1.GPUPwrCapState | Disabled
Job.1.JobTimeout | 120
LCD.1.ChassisIdentifyDuration | 0
LCD.1.Configuration | Service Tag
LCD.1.CurrentDisplay | ST: JV757V3
LCD.1.ErrorDisplayMode | SEL
LCD.1.FrontPanelLocking | Full-Access
LCD.1.HideErrs | unhide
LCD.1.LicenseMsgEnable | No-License-Msg
LCD.1.NMIResetOverride | DIsabled
LCD.1.NumberErrsHidden | 0
LCD.1.NumberErrsVisible | 0
LCD.1.QualifierTemp | C
LCD.1.QualifierWatt | Watts
LCD.1.UserDefinedString
LCD.1.vConsoleIndication | Enabled
LeaseInfo.1.Buyout | 0
LeaseInfo.1.EndDate
LeaseInfo.1.FairValue | 0
LeaseInfo.1.Lessor
LeaseInfo.1.MultiSched | No
LeaseInfo.1.RateFactor | 0
MaintenanceInfo.1.EndDate
MaintenanceInfo.1.Provider
MaintenanceInfo.1.Restrictions
MaintenanceInfo.1.StartDate
OpenIDConnectServer.1.DiscoveryURL
OpenIDConnectServer.1.Enabled | Disabled
OpenIDConnectServer.1.Name
OpenIDConnectServer.1.RegistrationDetails
OpenIDConnectServer.1.RegistrationStatus
OpenIDConnectServer.10.DiscoveryURL
OpenIDConnectServer.10.Enabled | Disabled
OpenIDConnectServer.10.Name
OpenIDConnectServer.10.RegistrationDetails
OpenIDConnectServer.10.RegistrationStatus
OpenIDConnectServer.11.DiscoveryURL
OpenIDConnectServer.11.Enabled | Disabled
OpenIDConnectServer.11.Name
OpenIDConnectServer.11.RegistrationDetails
OpenIDConnectServer.11.RegistrationStatus
OpenIDConnectServer.12.DiscoveryURL
OpenIDConnectServer.12.Enabled | Disabled
OpenIDConnectServer.12.Name
OpenIDConnectServer.12.RegistrationDetails
OpenIDConnectServer.12.RegistrationStatus
OpenIDConnectServer.13.DiscoveryURL
OpenIDConnectServer.13.Enabled | Disabled
OpenIDConnectServer.13.Name
OpenIDConnectServer.13.RegistrationDetails
OpenIDConnectServer.13.RegistrationStatus
OpenIDConnectServer.14.DiscoveryURL
OpenIDConnectServer.14.Enabled | Disabled
OpenIDConnectServer.14.Name
OpenIDConnectServer.14.RegistrationDetails
OpenIDConnectServer.14.RegistrationStatus
OpenIDConnectServer.15.DiscoveryURL
OpenIDConnectServer.15.Enabled | Disabled
OpenIDConnectServer.15.Name
OpenIDConnectServer.15.RegistrationDetails
OpenIDConnectServer.15.RegistrationStatus
OpenIDConnectServer.16.DiscoveryURL
OpenIDConnectServer.16.Enabled | Disabled
OpenIDConnectServer.16.Name
OpenIDConnectServer.16.RegistrationDetails
OpenIDConnectServer.16.RegistrationStatus
OpenIDConnectServer.2.DiscoveryURL
OpenIDConnectServer.2.Enabled | Disabled
OpenIDConnectServer.2.Name
OpenIDConnectServer.2.RegistrationDetails
OpenIDConnectServer.2.RegistrationStatus
OpenIDConnectServer.3.DiscoveryURL
OpenIDConnectServer.3.Enabled | Disabled
OpenIDConnectServer.3.Name
OpenIDConnectServer.3.RegistrationDetails
OpenIDConnectServer.3.RegistrationStatus
OpenIDConnectServer.4.DiscoveryURL
OpenIDConnectServer.4.Enabled | Disabled
OpenIDConnectServer.4.Name
OpenIDConnectServer.4.RegistrationDetails
OpenIDConnectServer.4.RegistrationStatus
OpenIDConnectServer.5.DiscoveryURL
OpenIDConnectServer.5.Enabled | Disabled
OpenIDConnectServer.5.Name
OpenIDConnectServer.5.RegistrationDetails
OpenIDConnectServer.5.RegistrationStatus
OpenIDConnectServer.6.DiscoveryURL
OpenIDConnectServer.6.Enabled | Disabled
OpenIDConnectServer.6.Name
OpenIDConnectServer.6.RegistrationDetails
OpenIDConnectServer.6.RegistrationStatus
OpenIDConnectServer.7.DiscoveryURL
OpenIDConnectServer.7.Enabled | Disabled
OpenIDConnectServer.7.Name
OpenIDConnectServer.7.RegistrationDetails
OpenIDConnectServer.7.RegistrationStatus
OpenIDConnectServer.8.DiscoveryURL
OpenIDConnectServer.8.Enabled | Disabled
OpenIDConnectServer.8.Name
OpenIDConnectServer.8.RegistrationDetails
OpenIDConnectServer.8.RegistrationStatus
OpenIDConnectServer.9.DiscoveryURL
OpenIDConnectServer.9.Enabled | Disabled
OpenIDConnectServer.9.Name
OpenIDConnectServer.9.RegistrationDetails
OpenIDConnectServer.9.RegistrationStatus
OutsourceInfo.1.ProbComp
OutsourceInfo.1.ProviderFee | 0
OutsourceInfo.1.SLALevel
OutsourceInfo.1.ServiceFee | 0
OutsourceInfo.1.SignedFor
OwnerInfo.1.InsComp
OwnerInfo.1.OwnerName
OwnerInfo.1.Type | Owned
PCIeSlotLFM.1.3rdPartyCard | No
PCIeSlotLFM.1.CardType | NIC
PCIeSlotLFM.1.CustomLFM | 0
PCIeSlotLFM.1.LFMMode | Automatic
PCIeSlotLFM.1.MaxLFM | 750
PCIeSlotLFM.1.PCIeInletTemperature | 26
PCIeSlotLFM.1.SlotState | Defined
PCIeSlotLFM.1.TargetLFM | Temperature Controlled
PCIeSlotLFM.10.3rdPartyCard | N/A
PCIeSlotLFM.10.CardType | Empty
PCIeSlotLFM.10.CustomLFM | 0
PCIeSlotLFM.10.LFMMode | Automatic
PCIeSlotLFM.10.MaxLFM | 0
PCIeSlotLFM.10.PCIeInletTemperature | 0
PCIeSlotLFM.10.SlotState | Not-Defined
PCIeSlotLFM.10.TargetLFM | -
PCIeSlotLFM.11.3rdPartyCard | N/A
PCIeSlotLFM.11.CardType | Empty
PCIeSlotLFM.11.CustomLFM | 0
PCIeSlotLFM.11.LFMMode | Automatic
PCIeSlotLFM.11.MaxLFM | 0
PCIeSlotLFM.11.PCIeInletTemperature | 0
PCIeSlotLFM.11.SlotState | Not-Defined
PCIeSlotLFM.11.TargetLFM | -
PCIeSlotLFM.12.3rdPartyCard | N/A
PCIeSlotLFM.12.CardType | Empty
PCIeSlotLFM.12.CustomLFM | 0
PCIeSlotLFM.12.LFMMode | Automatic
PCIeSlotLFM.12.MaxLFM | 0
PCIeSlotLFM.12.PCIeInletTemperature | 0
PCIeSlotLFM.12.SlotState | Not-Defined
PCIeSlotLFM.12.TargetLFM | -
PCIeSlotLFM.13.3rdPartyCard | N/A
PCIeSlotLFM.13.CardType | Empty
PCIeSlotLFM.13.CustomLFM | 0
PCIeSlotLFM.13.LFMMode | Automatic
PCIeSlotLFM.13.MaxLFM | 0
PCIeSlotLFM.13.PCIeInletTemperature | 0
PCIeSlotLFM.13.SlotState | Not-Defined
PCIeSlotLFM.13.TargetLFM | -
PCIeSlotLFM.14.3rdPartyCard | N/A
PCIeSlotLFM.14.CardType | Empty
PCIeSlotLFM.14.CustomLFM | 0
PCIeSlotLFM.14.LFMMode | Automatic
PCIeSlotLFM.14.MaxLFM | 0
PCIeSlotLFM.14.PCIeInletTemperature | 0
PCIeSlotLFM.14.SlotState | Not-Defined
PCIeSlotLFM.14.TargetLFM | -
PCIeSlotLFM.15.3rdPartyCard | N/A
PCIeSlotLFM.15.CardType | Empty
PCIeSlotLFM.15.CustomLFM | 0
PCIeSlotLFM.15.LFMMode | Automatic
PCIeSlotLFM.15.MaxLFM | 0
PCIeSlotLFM.15.PCIeInletTemperature | 0
PCIeSlotLFM.15.SlotState | Not-Defined
PCIeSlotLFM.15.TargetLFM | -
PCIeSlotLFM.16.3rdPartyCard | N/A
PCIeSlotLFM.16.CardType | Empty
PCIeSlotLFM.16.CustomLFM | 0
PCIeSlotLFM.16.LFMMode | Automatic
PCIeSlotLFM.16.MaxLFM | 0
PCIeSlotLFM.16.PCIeInletTemperature | 0
PCIeSlotLFM.16.SlotState | Not-Defined
PCIeSlotLFM.16.TargetLFM | -
PCIeSlotLFM.17.3rdPartyCard | N/A
PCIeSlotLFM.17.CardType | Empty
PCIeSlotLFM.17.CustomLFM | 0
PCIeSlotLFM.17.LFMMode | Automatic
PCIeSlotLFM.17.MaxLFM | 0
PCIeSlotLFM.17.PCIeInletTemperature | 0
PCIeSlotLFM.17.SlotState | Not-Defined
PCIeSlotLFM.17.TargetLFM | -
PCIeSlotLFM.18.3rdPartyCard | N/A
PCIeSlotLFM.18.CardType | Empty
PCIeSlotLFM.18.CustomLFM | 0
PCIeSlotLFM.18.LFMMode | Automatic
PCIeSlotLFM.18.MaxLFM | 0
PCIeSlotLFM.18.PCIeInletTemperature | 0
PCIeSlotLFM.18.SlotState | Not-Defined
PCIeSlotLFM.18.TargetLFM | -
PCIeSlotLFM.19.3rdPartyCard | N/A
PCIeSlotLFM.19.CardType | Empty
PCIeSlotLFM.19.CustomLFM | 0
PCIeSlotLFM.19.LFMMode | Automatic
PCIeSlotLFM.19.MaxLFM | 0
PCIeSlotLFM.19.PCIeInletTemperature | 0
PCIeSlotLFM.19.SlotState | Not-Defined
PCIeSlotLFM.19.TargetLFM | -
PCIeSlotLFM.2.3rdPartyCard | N/A
PCIeSlotLFM.2.CardType | Empty
PCIeSlotLFM.2.CustomLFM | 0
PCIeSlotLFM.2.LFMMode | Automatic
PCIeSlotLFM.2.MaxLFM | 710
PCIeSlotLFM.2.PCIeInletTemperature | 27
PCIeSlotLFM.2.SlotState | Defined
PCIeSlotLFM.2.TargetLFM | -
PCIeSlotLFM.20.3rdPartyCard | N/A
PCIeSlotLFM.20.CardType | Empty
PCIeSlotLFM.20.CustomLFM | 0
PCIeSlotLFM.20.LFMMode | Automatic
PCIeSlotLFM.20.MaxLFM | 0
PCIeSlotLFM.20.PCIeInletTemperature | 0
PCIeSlotLFM.20.SlotState | Not-Defined
PCIeSlotLFM.20.TargetLFM | -
PCIeSlotLFM.21.3rdPartyCard | N/A
PCIeSlotLFM.21.CardType | Empty
PCIeSlotLFM.21.CustomLFM | 0
PCIeSlotLFM.21.LFMMode | Automatic
PCIeSlotLFM.21.MaxLFM | 0
PCIeSlotLFM.21.PCIeInletTemperature | 0
PCIeSlotLFM.21.SlotState | Not-Defined
PCIeSlotLFM.21.TargetLFM | -
PCIeSlotLFM.22.3rdPartyCard | N/A
PCIeSlotLFM.22.CardType | Empty
PCIeSlotLFM.22.CustomLFM | 0
PCIeSlotLFM.22.LFMMode | Automatic
PCIeSlotLFM.22.MaxLFM | 0
PCIeSlotLFM.22.PCIeInletTemperature | 0
PCIeSlotLFM.22.SlotState | Not-Defined
PCIeSlotLFM.22.TargetLFM | -
PCIeSlotLFM.23.3rdPartyCard | N/A
PCIeSlotLFM.23.CardType | Empty
PCIeSlotLFM.23.CustomLFM | 0
PCIeSlotLFM.23.LFMMode | Automatic
PCIeSlotLFM.23.MaxLFM | 0
PCIeSlotLFM.23.PCIeInletTemperature | 0
PCIeSlotLFM.23.SlotState | Not-Defined
PCIeSlotLFM.23.TargetLFM | -
PCIeSlotLFM.24.3rdPartyCard | N/A
PCIeSlotLFM.24.CardType | Empty
PCIeSlotLFM.24.CustomLFM | 0
PCIeSlotLFM.24.LFMMode | Automatic
PCIeSlotLFM.24.MaxLFM | 0
PCIeSlotLFM.24.PCIeInletTemperature | 0
PCIeSlotLFM.24.SlotState | Not-Defined
PCIeSlotLFM.24.TargetLFM | -
PCIeSlotLFM.25.3rdPartyCard | N/A
PCIeSlotLFM.25.CardType | Empty
PCIeSlotLFM.25.CustomLFM | 0
PCIeSlotLFM.25.LFMMode | Automatic
PCIeSlotLFM.25.MaxLFM | 0
PCIeSlotLFM.25.PCIeInletTemperature | 0
PCIeSlotLFM.25.SlotState | Not-Defined
PCIeSlotLFM.25.TargetLFM | -
PCIeSlotLFM.26.3rdPartyCard | N/A
PCIeSlotLFM.26.CardType | Empty
PCIeSlotLFM.26.CustomLFM | 0
PCIeSlotLFM.26.LFMMode | Automatic
PCIeSlotLFM.26.MaxLFM | 0
PCIeSlotLFM.26.PCIeInletTemperature | 0
PCIeSlotLFM.26.SlotState | Not-Defined
PCIeSlotLFM.26.TargetLFM | -
PCIeSlotLFM.27.3rdPartyCard | N/A
PCIeSlotLFM.27.CardType | Empty
PCIeSlotLFM.27.CustomLFM | 0
PCIeSlotLFM.27.LFMMode | Automatic
PCIeSlotLFM.27.MaxLFM | 0
PCIeSlotLFM.27.PCIeInletTemperature | 0
PCIeSlotLFM.27.SlotState | Not-Defined
PCIeSlotLFM.27.TargetLFM | -
PCIeSlotLFM.28.3rdPartyCard | N/A
PCIeSlotLFM.28.CardType | Empty
PCIeSlotLFM.28.CustomLFM | 0
PCIeSlotLFM.28.LFMMode | Automatic
PCIeSlotLFM.28.MaxLFM | 0
PCIeSlotLFM.28.PCIeInletTemperature | 0
PCIeSlotLFM.28.SlotState | Not-Defined
PCIeSlotLFM.28.TargetLFM | -
PCIeSlotLFM.29.3rdPartyCard | N/A
PCIeSlotLFM.29.CardType | Empty
PCIeSlotLFM.29.CustomLFM | 0
PCIeSlotLFM.29.LFMMode | Automatic
PCIeSlotLFM.29.MaxLFM | 0
PCIeSlotLFM.29.PCIeInletTemperature | 0
PCIeSlotLFM.29.SlotState | Not-Defined
PCIeSlotLFM.29.TargetLFM | -
PCIeSlotLFM.3.3rdPartyCard | Yes
PCIeSlotLFM.3.CardType | NIC
PCIeSlotLFM.3.CustomLFM | 0
PCIeSlotLFM.3.LFMMode | Automatic
PCIeSlotLFM.3.MaxLFM | 510
PCIeSlotLFM.3.PCIeInletTemperature | 30
PCIeSlotLFM.3.SlotState | Defined
PCIeSlotLFM.3.TargetLFM | Temperature Controlled
PCIeSlotLFM.30.3rdPartyCard | N/A
PCIeSlotLFM.30.CardType | Empty
PCIeSlotLFM.30.CustomLFM | 0
PCIeSlotLFM.30.LFMMode | Automatic
PCIeSlotLFM.30.MaxLFM | 0
PCIeSlotLFM.30.PCIeInletTemperature | 0
PCIeSlotLFM.30.SlotState | Not-Defined
PCIeSlotLFM.30.TargetLFM | -
PCIeSlotLFM.31.3rdPartyCard | N/A
PCIeSlotLFM.31.CardType | Empty
PCIeSlotLFM.31.CustomLFM | 0
PCIeSlotLFM.31.LFMMode | Automatic
PCIeSlotLFM.31.MaxLFM | 0
PCIeSlotLFM.31.PCIeInletTemperature | 0
PCIeSlotLFM.31.SlotState | Not-Defined
PCIeSlotLFM.31.TargetLFM | -
PCIeSlotLFM.32.3rdPartyCard | N/A
PCIeSlotLFM.32.CardType | Empty
PCIeSlotLFM.32.CustomLFM | 0
PCIeSlotLFM.32.LFMMode | Automatic
PCIeSlotLFM.32.MaxLFM | 0
PCIeSlotLFM.32.PCIeInletTemperature | 0
PCIeSlotLFM.32.SlotState | Not-Defined
PCIeSlotLFM.32.TargetLFM | -
PCIeSlotLFM.33.3rdPartyCard | N/A
PCIeSlotLFM.33.CardType | Empty
PCIeSlotLFM.33.CustomLFM | 0
PCIeSlotLFM.33.LFMMode | Automatic
PCIeSlotLFM.33.MaxLFM | 0
PCIeSlotLFM.33.PCIeInletTemperature | 0
PCIeSlotLFM.33.SlotState | Not-Defined
PCIeSlotLFM.33.TargetLFM | -
PCIeSlotLFM.34.3rdPartyCard | N/A
PCIeSlotLFM.34.CardType | Empty
PCIeSlotLFM.34.CustomLFM | 0
PCIeSlotLFM.34.LFMMode | Automatic
PCIeSlotLFM.34.MaxLFM | 0
PCIeSlotLFM.34.PCIeInletTemperature | 0
PCIeSlotLFM.34.SlotState | Not-Defined
PCIeSlotLFM.34.TargetLFM | -
PCIeSlotLFM.4.3rdPartyCard | No
PCIeSlotLFM.4.CardType | NIC
PCIeSlotLFM.4.CustomLFM | 0
PCIeSlotLFM.4.LFMMode | Automatic
PCIeSlotLFM.4.MaxLFM | 530
PCIeSlotLFM.4.PCIeInletTemperature | 25
PCIeSlotLFM.4.SlotState | Defined
PCIeSlotLFM.4.TargetLFM | Temperature Controlled
PCIeSlotLFM.5.3rdPartyCard | N/A
PCIeSlotLFM.5.CardType | Empty
PCIeSlotLFM.5.CustomLFM | 0
PCIeSlotLFM.5.LFMMode | Automatic
PCIeSlotLFM.5.MaxLFM | 470
PCIeSlotLFM.5.PCIeInletTemperature | 27
PCIeSlotLFM.5.SlotState | Defined
PCIeSlotLFM.5.TargetLFM | -
PCIeSlotLFM.6.3rdPartyCard | No
PCIeSlotLFM.6.CardType | RAID
PCIeSlotLFM.6.CustomLFM | 0
PCIeSlotLFM.6.LFMMode | Automatic
PCIeSlotLFM.6.MaxLFM | 670
PCIeSlotLFM.6.PCIeInletTemperature | 29
PCIeSlotLFM.6.SlotState | Defined
PCIeSlotLFM.6.TargetLFM | Temperature Controlled
PCIeSlotLFM.7.3rdPartyCard | No
PCIeSlotLFM.7.CardType | NIC
PCIeSlotLFM.7.CustomLFM | 0
PCIeSlotLFM.7.LFMMode | Automatic
PCIeSlotLFM.7.MaxLFM | 690
PCIeSlotLFM.7.PCIeInletTemperature | 27
PCIeSlotLFM.7.SlotState | Defined
PCIeSlotLFM.7.TargetLFM | Temperature Controlled
PCIeSlotLFM.8.3rdPartyCard | N/A
PCIeSlotLFM.8.CardType | Empty
PCIeSlotLFM.8.CustomLFM | 0
PCIeSlotLFM.8.LFMMode | Automatic
PCIeSlotLFM.8.MaxLFM | 710
PCIeSlotLFM.8.PCIeInletTemperature | 28
PCIeSlotLFM.8.SlotState | Defined
PCIeSlotLFM.8.TargetLFM | -
PCIeSlotLFM.9.3rdPartyCard | N/A
PCIeSlotLFM.9.CardType | Empty
PCIeSlotLFM.9.CustomLFM | 0
PCIeSlotLFM.9.LFMMode | Automatic
PCIeSlotLFM.9.MaxLFM | 0
PCIeSlotLFM.9.PCIeInletTemperature | 0
PCIeSlotLFM.9.SlotState | Not-Defined
PCIeSlotLFM.9.TargetLFM | -
QuickSync.1.Access | Read-write
QuickSync.1.InactivityTimeout | 120
QuickSync.1.InactivityTimerEnable | Enabled
QuickSync.1.Presence | Absent
QuickSync.1.ReadAuthentication | Enabled
QuickSync.1.WifiEnable | Enabled
SC-BMC.1.PowerMonitoring | 0
ServerInfo.1.NodeID | JV757V3
ServerInfo.1.RChassisServiceTag
ServerInfo.1.ServerType | Rack
ServerInfo.1.ServiceTag | JV757V3
ServerOS.1.HostName
ServerOS.1.InstallCompletedTime
ServerOS.1.OEMOSVersion
ServerOS.1.OSName
ServerOS.1.OSVersion
ServerOS.1.ProductKey
ServerOS.1.ServerPoweredOnTime | 1801
ServerPwr.1.ActivePolicyName
ServerPwr.1.ActivePowerCapVal | 305
ServerPwr.1.PSPFCEnabled | Disabled
ServerPwr.1.PSRapidOn | Disabled
ServerPwr.1.PSRedPolicy | A/B Grid Redundant
ServerPwr.1.PowerCapMaxThres | 842
ServerPwr.1.PowerCapMinThres | 554
ServerPwr.1.PowerCapSetting | Disabled
ServerPwr.1.PowerCapValue | 305
ServerPwr.1.Poweredbyparent | SelfPowered
ServerPwr.1.RapidOnPrimaryPSU | PSU1
ServerPwrMon.1.AccumulativePower | 9993724
ServerPwrMon.1.CumulativePowerStartTime | 1600598689
ServerPwrMon.1.CumulativePowerStartTimeStr | 2020-09-20T10:44:49Z
ServerPwrMon.1.MinPowerTime | 1678344922
ServerPwrMon.1.MinPowerTimeStr | 2023-03-09T06:55:22Z
ServerPwrMon.1.MinPowerWatts | 13
ServerPwrMon.1.PeakCurrentTime | 1672888003
ServerPwrMon.1.PeakCurrentTimeStr | 2023-01-05T03:06:43Z
ServerPwrMon.1.PeakPowerStartTime | 1600598689
ServerPwrMon.1.PeakPowerStartTimeStr | 2020-09-20T10:44:49Z
ServerPwrMon.1.PeakPowerTime | 1678386113
ServerPwrMon.1.PeakPowerTimeStr | 2023-03-09T18:21:53Z
ServerPwrMon.1.PeakPowerWatts | 584
ServerPwrMon.1.PowerConfigReset | None
ServerTopology.1.AisleName
ServerTopology.1.DataCenterName
ServerTopology.1.ManagedSystemSizeInU | 2
ServerTopology.1.RackName
ServerTopology.1.RackOffsetUnits | EIA_310
ServerTopology.1.RackSlot | 0
ServerTopology.1.RoomName
ServerTopology.1.SizeOfManagedSystemInU | 2
ServiceContract.1.Renewed | No
ServiceContract.1.Type
ServiceContract.1.Vendor
Storage.1.AvailableSpareAlertThreshold | 10
Storage.1.RemainingRatedWriteEnduranceAlertThreshold | 10
SupportInfo.1.AutoFix
SupportInfo.1.HelpDesk
SupportInfo.1.Outsourced | No
SupportInfo.1.Type | Network
SystemInfo.1.BootTime | Tue Jun 16 15:54:58 2026
SystemInfo.1.PrimaryTelephone
SystemInfo.1.PrimaryUser
SystemInfo.1.SysLocation
SystemInfo.1.SysTime | Tue Jun 16 16:24:59 2026
ThermalConfig.1.ASHRAEEnvironmentalClass | N/A
ThermalConfig.1.CriticalEventGenerationInterval | 30
ThermalConfig.1.EventGenerationInterval | 30
ThermalConfig.1.FreshAirCompliantConfiguration | Yes
ThermalConfig.1.LiquidCoolSetting | Unknown
ThermalConfig.1.MaxCFM | 147
ThermalConfig.1.ValidFanConfiguration | Yes
ThermalHistorical.1.IntervalInSeconds | 0
ThermalSettings.1.AirExhaustTemp | 70
ThermalSettings.1.AirExhaustTempSupport | Supported
ThermalSettings.1.AirTemperatureRiseLimitSupport | Not Supported
ThermalSettings.1.CurrentSystemProfileValue | Maximum Performance
ThermalSettings.1.FanSpeedHighOffsetVal | 75
ThermalSettings.1.FanSpeedLowOffsetVal | 25
ThermalSettings.1.FanSpeedMaxOffsetVal | 100
ThermalSettings.1.FanSpeedMediumOffsetVal | 50
ThermalSettings.1.FanSpeedOffset | Off
ThermalSettings.1.MFSMaximumLimit | 100
ThermalSettings.1.MFSMinimumLimit | 25
ThermalSettings.1.MaximumPCIeInletTemperatureLimitSupport | Not Supported
ThermalSettings.1.MinimumFanSpeed | 255
ThermalSettings.1.PCIeSlotLFMSupport | Supported
ThermalSettings.1.SetMaximumExhaustTemperatureLimit | Disabled
ThermalSettings.1.SoundCapState | Not Applicable
ThermalSettings.1.SystemCFMSupport | Supported
ThermalSettings.1.SystemExhaustTemperature | 29
ThermalSettings.1.SystemInletTemperature | 20
ThermalSettings.1.SystemInletTemperatureSupportLimitPerConfiguration | 40
ThermalSettings.1.TargetExhaustTemperatureLimit | 70
ThermalSettings.1.ThermalProfile | Default Thermal Profile Settings
USBFront.1.Enable | Not Applicable
WarrantyInfo.1.Cost | 0
WarrantyInfo.1.Duration | 0
WarrantyInfo.1.EndDate
WarrantyInfo.1.UnitType | Days